# Table 1	Mandatory Requirements for Joint Implementation (JI) Project Activities

| REQUIREMENT | REFERENCE | CONCLUSION | Cross Reference / Comment |
| --- | --- | --- | --- |
| - The project shall have the approval of the Parties involved | Kyoto Protocol Article 6.1 (a) | This issue remains outside the scope of this validation and will be negotiated by the parties involved. | It is envisaged that the project will be approved by both countries (The Netherlands and Bulgaria) at the end of the validation process. |
| - Emission reductions, or an enhancement of removal by sinks, shall be additional to any that would otherwise occur | Kyoto Protocol Article 6.1 (b) |  | Table 2, Section B.2 |
| - The sponsor Party shall not aquire emission reduction units if it is not in compliance with its obligations under Articles 5 & 7 | Kyoto Protocol Article 6.1 (c) |  | Both countries fulfil the obligations as requested. |
| - The acquisition of emission reduction units shall be supplemental to domestic actions for the purpose of meeting commitments under Article 3 | Kyoto Protocol Article 6.1 (d) |  | The project is additional to domestic actions. |
| - Parties participating in JI shall designate national focal points for approving JI projects and have in place national guidelines and procedures for the approval of JI projects | Marrakech Accords, JI Modalities, §20 |  | Both Parties have designated national focal points. |
| - The host Party shall be a Party to the Kyoto Protocol | Marrakech Accords, JI Modalities, §21(a)/24 |  | Verified at UNFCCC website |
| - The host Party’s assigned amount shall have been calculated and recorded in accordance with the modalities for the accounting of assigned amounts | Marrakech Accords, JI Modalities, §21(b)/24 |  | Third National Communication is available |
| - The host Party shall have in place a national registry in accordance with Article 7, paragraph 4 | Marrakech Accords, JI Modalities, §21(d)/24 |  | This issue can not be answered by now as such as the JI system is not installed yet and the Kyoto Protocol has not yet entered into force. |
| - Project participants shall submit to the independent entity a project design document that contains all information needed for the determination | Marrakech Accords, JI Modalities, §31 |  | The original version of the PDD has been submitted in September 2004. |
| - The project design document shall be made publicly available and Parties, stakeholders and UNFCCC accredited observers shall be invited to, within 30 days, provide comments | Marrakech Accords, JI Modalities, §32 |  | The project has been open for comment from Oct. 05 to Nov. 04, 2004. |
| - Documentation on the analysis of the environmental impacts of the project activity, including transboundary impacts, in accordance with procedures as determined by the host Party shall be submitted, and, if those impacts are considered significant by the project participants or the Host Party, an environmental impact assessment in accordance with procedures as required by the Host Party shall be carried out | Marrakech Accords, JI Modalities, §33(d) |  | Table 2, Section F |
| - The baseline for a JI project shall be the scenario that reasonably represents the GHG emissions or removal by sources that would occur in absence of the proposed project | Marrakech Accords, JI Modalities, Appendix B |  | Table 2, Section B.2 Slight corrections are required regarding the emission reduction from the fine screening energy demand and the soot blowers. |
| - A baseline shall be established on a project-specific basis, in a transparent manner and taking into account relevant national and/or sectoral policies and circumstances | Marrakech Accords, JI Modalities, Appendix B |  | Table 2, Section B.2 |
| - The baseline methodology shall exclude to earn ERUs for decreases in activity levels outside the project activity or due to force majeure | Marrakech Accords, JI Modalities, Appendix B |  | Table 2, Section B.2 |
| - The project shall have an appropriate monitoring plan | Marrakech Accords, JI Modalities, §33(c) |  | Table 2, Section D |

# Table 2	Requirements Checklist

| CHECKLIST QUESTION | Ref. | MoV* | COMMENTS | Draft Concl. | Final Concl. |
| --- | --- | --- | --- | --- | --- |
| - General Description of Project Activity |  |  |  |  |  |
| - Project Boundaries |  |  |  |  |  |
| - Are the project’s spatial (geographical) boundaries clearly defined? | 1, 3, 4 | DR, I | The project’s spatial boundaries are clearly described for all different types of emission reduction subprojects. |  |  |
| - Are the project’s system (components and facilities used to mitigate GHGs) boundaries clearly defined? | 1 - 4 | DR, I | Yes, the flowcharts presented in the PDD show in each case a complete description of the project’s system. |  |  |
| - Technology to be employed |  |  |  |  |  |
| - Does the project design engineering reflect current good practices? | 1, 3, 4 | DR, I | Yes, the employed technology does reflect current good practice as it introduces state-of-the-art technology to all sub installations. |  |  |
| - Does the project use state of the art technology or would the technology result in a significantly better performance than any commonly used technologies in the host country? | 1, 3, 4 | DR, I | The project uses state of the art technology. |  |  |
| - Is the project technology likely to be substituted by other or more efficient technologies within the project period? | 1, 3, 4 | DR, I | It is not likely that the project technology will be substituted by a more efficient technology. |  |  |
| - Does the project require extensive initial training and maintenance efforts in order to work as presumed during the project period? | 1, 3, 4 | DR, I | The personnel within the paper factory will be enabled to maintain the new equipment, which does not require extensive training beyond the existing technical experience. |  |  |
| - Does the project make provisions for meeting training and maintenance needs? | 1, 2 | DR, I | See comment above. |  |  |
| - Project Baseline |  |  |  |  |  |
| - Baseline Methodology |  |  |  |  |  |
| - Is the discussion and selection of the baseline methodology transparent? | 1 – 4, 5 | DR, I | The project participants could demonstrate convincingly by a multiple key factor test including a sensitivity analysis that the continuation of the recent status is representing the most likely scenario and therefore the baseline. The argumentation by the management that after tremendous investments in the upgrading of the whole factory during the last years there would be no further incentive to invest in the project activities is suitable and transparent. Thus the reluctance on the recent parameter seems to be reasonable. |  |  |
| - B.1.1.1 boiler system | 1 - 4 | - DR, I | - The discussion includes the consideration of an ongoing energy efficiency potential of 0.5 % per year and the conservative assumption of only using gas to meet that share of the heat demand, which will be replaced by the project scenario. |  | -  |
| - B.1.1.2 dumping area | 2 | - I | - The dumping area has been inspected. The dumped biomass is compacted and should have the methane production potential as indicated by the PDD. |  | -  |
| - B.1.1.3 steam condensate of drying section at PM1 | 2 | - I | - The continuation of the operation of PM1 under the existing conditions is technically feasible. |  | -  |
| - B.1.1.4 condensate tanks of flash steam | 2 | - I | - The continuation of the operation of this system is technically feasible. |  | -  |
| - B.1.1.5 space heating systems | 2 | - I | - The existing heating system for the production halls represents old technology and it is economically inefficient. Nonetheless there is no technical requirement to replace the system. |  | -  |
| - B.1.1.6 soot blowers | 2 | - I | - The continuation of the operation of this system is technically feasible. |  | -  |
| - B.1.1.7 fine screening of unbleached kraft pulp | 2 | - I | - The continuation of the operation of this system is technically feasible. |  | -  |
| - B.1.1.8 blow heat recovery system | 2 | - I | - The continuation of the operation is technically feasible. |  | -  |
| - B.1.1.9 electrostatic precipitator in soda recovery | 2 | - I | - There is no legal or technical requirement which would hinder the continuation of the operation of this part of the factory. |  | -  |
| - B.1.1.10 black liquor concentrator | 2 | - I | - The continuation of the operation is technically feasible. |  | -  |
| - Does the baseline methodology specify data sources and assumptions? | 1 - 4 | DR, I | Yes, all data used is specified and clearly referenced. |  |  |
| - Does the baseline methodology sufficiently describe the underlying rationale for the algorithm/formulae used to determine baseline emissions (e.g. marginal vs. average, etc.) | 1 - 4 | DR, I | Yes. |  |  |
| - Does the baseline methodology specify types of variables used (e.g. fuels used, fuel consumption rates, etc)? | 1 - 4 | DR, I | Yes, all types of variables for all reduction paths are clearly and completely specified. |  |  |
| - Does the baseline methodology specify the spatial level of data (local, regional, national)? | 3, 4 | DR | All spatial levels are considered to be appropriate. |  |  |
| - Baseline Determination |  |  |  |  |  |
| - Is the application of the methodology and the discussion and determination of the chosen baseline transparent? | 1 - 4 | DR, I | The discussion and determination of the chosen baseline is transparent and reflects the situation as required due to altered legislation and the resulting need for changes. |  |  |
| - Has the baseline been determined using conservative assumptions where possible? | 1 - 4 | DR, I | Among the ten different reduction paths there are two aspects, where the baseline has not used conservative assumptions. The calculation of energy demand for the fine screening installation is based on installed capacity instead of actual energy consumption of each motor. The calculation of the steam demand to be used by the soot blowers is based on assumptions concerning time demand for each blow cycle and numbers of blowers in operation which could not be verified at the time of the on-site visit during that validation. Corrective Action Request No. 1: The calculation of the energy has to include a realistic load factor for the electric motors in a revised PDD. Clarification Request No. 1: The real time for each blow cycle and the number of blowers in operation should be investigated and documented in a transparent manner before replacing these devices. | CAR 1 CR 1 |  CR 1 |
| - Has the baseline been established on a project-specific basis? | 2 4- 18 | DR, I | Yes the baseline is established in a project specific manner. The use of a generic approach concerning the grid factor, as given by the approach agreed by Bulgaria and The Netherlands, is deemed to be suitable. |  |  |
| - Does the baseline scenario sufficiently take into account relevant national and/or sectoral policies, macro-economic trends and political aspirations? | 1 - 4 | DR, I | Yes, the baseline does take into account the major national and/or sectoral policies, macro-economic trends and political developments. Relevant key factors are described and their impact on the baseline and the project risk is evaluated. |  |  |
| - Is the baseline determination compatible with the available data? | 1 - 4 | DR, I | Yes, spot checks have been performed for all kind of technical and economical data. There was sufficient evidence that all data represent either a realistic or a conservative approach of the actual situation. |  |  |
| - Does the selected baseline represent a likely scenario in the absence of the project? | 3 , 4 | DR, I | Yes, the baseline does represent a likely scenario in the non project case as it conforms to all legal requirements and the prevailing practice. |  |  |
| - Is it demonstrated that the project activity itself is not a likely baseline scenario? | 1 - 4 | DR, I | It could be demonstrated that there is no incentive for further investments in energy efficiency improvements for the shareholders of PFS. |  |  |
| - Have the major risks to the baseline been identified? | 1 - 4 | DR, I | Yes, the major risks have been determined. |  |  |
| - Is all literature and sources clearly referenced? | 3 , 4 | DR, I | Yes. |  |  |
| - Duration of the Project/ Crediting Period |  |  |  |  |  |
| - Are the project’s starting date and operational lifetime clearly defined and reasonable? | 3 , 4 | DR | Yes, the project starting date is clearly defined. The operational lifetime will exceed the crediting lifetime although a detailed minimum date can not be given due to the variety of the different measures. |  |  |
| - Is the project’s crediting time clearly defined? | 4 | DR | Yes the crediting period is defined as being from 2008 – 2012 in accordance with the first commitment period defined in the Kyoto Protocol. Furthermore the sales of emission reductions (not ERUs) prior to 2008 is announced. That is due to a bilateral agreement between Bulgaria and The Netherlands beyond the rules laid down in the Marrakech Accords and therefore outside the assessment criteria used for this validation. |  |  |
| - Monitoring Plan |  |  |  |  |  |
| - Monitoring Methodology |  |  |  |  |  |
| - Does the monitoring methodology reflect good monitoring and reporting practices? | 1, 3, 4 | DR, I | Yes, the monitoring methodology does reflect current good practice. |  |  |
| - Is the selected monitoring methodology supported by the monitored and recorded data? | 1, 3, 4 | DR, I | Yes, besides the issue identified above under CR1. |  |  |
| - Are the monitoring provisions in the monitoring methodology consistent with the project boundaries in the baseline study? | 1, 3, 4 | DR, I | Yes. |  |  |
| - Have any needs for monitoring outside the project boundaries been evaluated and if so, included as applicable? | 1, 3, 4 | DR, I | It has been evaluated, but there is no such need. |  |  |
| - Does the monitoring methodology allow for conservative, transparent, accurate and complete calculation of the ex post GHG emissions? | 1, 3, 4 | DR, I | Yes, this can be confirmed for all reduction paths. |  |  |
| - Is the monitoring methodology clear and user friendly? | 1, 3, 4 | DR, I | Yes, the monitoring methodology is based on existing reporting and quality assurances structures. |  |  |
| - Does the methodology mitigate possible monitoring errors or uncertainties addressed? | 1, 3, 4 | DR, I | Yes |  |  |
| - Monitoring of Project Emissions |  |  |  |  |  |
| - Does the monitoring plan provide for the collection and archiving of all relevant data necessary for estimation or measuring the greenhouse gas emissions within the project boundary during the crediting period? | 1, 3, 4 | DR, I | Yes, the monitoring workbook and the relevant chapter in the PDD provide for the collection of all required data |  |  |
| - Are the choices of project GHG indicators reasonable? | 1, 3, 4 | DR, I | Yes. |  |  |
| - Will it be possible to monitor / measure the specified project GHG indicators? | 1, 3, 4 | DR, I | See above |  |  |
| - Will the indicators enable comparison of project data and performance over time? | 1, 3, 4 | DR, I | Yes. |  |  |
| - Monitoring of Leakage |  |  |  |  |  |
| - Does the monitoring plan provide for the collection and archiving of all relevant data necessary for determining leakage? | 1, 3, 4 | DR, I | No indicators have been defined and no leakage emissions are monitored according to the monitoring plan as there are no emissions to be expected. |  |  |
| - Have relevant indicators for GHG leakage been included? | 1, 3, 4 | DR, I | See comment above. |  |  |
| - Does the monitoring plan provide for the collection and archiving of all relevant data necessary for determining leakage? | 1, 3, 4 | DR, I | See comment above. |  |  |
| - Will it be possible to monitor the specified GHG leakage indicators? | 1, 3, 4 | DR, I | See comment above. |  |  |
| - Monitoring of Baseline Emissions |  |  |  |  |  |
| - Does the monitoring plan provide for the collection and archiving of all relevant data necessary for determining the baseline emissions during the crediting period? | 1 - 4 | DR, I | As far as necessary the monitoring plan provides for the collection of data required to determine the baseline emissions. |  |  |
| - Is the choice of baseline indicators, in particular for baseline emissions, reasonable? | 1 - 4 | DR, I | Besides the issues identified as CAR1 the choice is reasonable | see CAR 1 |  |
| - Will it be possible to monitor the specified baseline indicators? | 1 - 4 | DR, I | Yes, wherever such an ex-post determination is technically feasible. |  |  |
| - Monitoring of Social and Environmental Impacts |  |  |  |  |  |
| - Does the monitoring plan provide for the collection and archiving of relevant data on social and environmental impacts? | 1 - 4 | DR, I | Potential impacts on air emissions will have to be in line with EU legislation and therefore undergo separate surveillance routines not further elaborated by the PDD. |  |  |
| - Will it be possible to monitor the specified impact indicators? | 1 - 4 | DR, I | See above |  |  |
| - Project Management Planning |  |  |  |  |  |
| - Is the authority and responsibility of project management clearly described? | 3 , 4 | DR, I | Yes, all aspects regarding future responsibilities and quality assurance are already fixed in advance. |  |  |
| - Is the authority and responsibility for registration, monitoring, measurement and reporting clearly described? | 3 , 4 | DR, I | See comment above. |  |  |
| - Are procedures identified for training of monitoring personnel? | 3 , 4 | DR, I | See comment above. |  |  |
| - Are procedures identified for emergency preparedness where emergencies can result in unintended emissions? | 3 , 4 | DR | There are no such cases to be considered. |  |  |
| - Are procedures identified for calibration of monitoring equipment? | 1 - 4 | DR, I | Yes, respective procedures are identified and maintained by PFS. Nonetheless there is no structured documentation of these procedures available. Clarification Request No. 2: A documentation of all procedures relevant for ensuring the data quality over the time of the crediting period should be elaborated and submitted to the verifier of the first or initial verification. | CR 2 | CR 2 |
| - Are procedures identified for maintenance of monitoring equipment and installations? | 3 , 4 | DR, I | Yes, respective procedures are identified and maintained by PFS. Nonetheless there is no structured documentation of these procedures available. | See CR 2 | See CR 2 |
| - Are procedures identified for monitoring, measurements and reporting? | 3 , 4 | DR, I | Yes, respective procedures are identified and maintained by PFS. Nonetheless there is no structured documentation of these procedures available. | See CR 2 | See CR 2 |
| - Are procedures identified for day-to-day records handling (including what records to keep, storage area of records and how to process performance documentation)? | 3 , 4 | DR, I | Yes, respective procedures are identified and maintained by PFS. Nonetheless there is no structured documentation of these procedures available. | See CR 2 | See CR 2 |
| - Are procedures identified for dealing with possible monitoring data adjustments and uncertainties? | 3 , 4 | DR, I | Yes, respective procedures are identified and maintained by PFS. Nonetheless there is no structured documentation of these procedures available. | See CR 2 | See CR 2 |
| - Are procedures identified for internal audits of GHG project compliance with operational requirements where applicable? | 3 , 4 | DR, I | Yes, respective procedures are identified and maintained by PFS. Nonetheless there is no structured documentation of these procedures available. | See CR 2 | See CR 2 |
| - Are procedures identified for project performance reviews? | 3 , 4 | DR, I | Yes, respective procedures are identified and maintained by PFS. Nonetheless there is no structured documentation of these procedures available. | See CR 2 | See CR 2 |
| - Are procedures identified for corrective actions? | 3 , 4 | DR, I | Yes, respective procedures are identified and maintained by PFS. Nonetheless there is no structured documentation of these procedures available. | See CR 2 | See CR 2 |
| - Calculation of GHG Emissions by Source |  |  |  |  |  |
| - Predicted Project GHG Emissions |  |  |  |  |  |
| - Are all aspects related to direct and indirect GHG emissions captured in the project design? | 3 , 4 | DR, I | Yes, all aspects are covered. Emissions of CO2 and CH4 have been assessed and CH4 has correctly been identified as relevant for the project. |  |  |
| - Are the GHG calculations documented in a complete and transparent manner? | 3 , 4 | DR, I | Yes, the PDD gives a complete and transparent calculation of the project GHG emissions. |  |  |
| - Have conservative assumptions been used to calculate project GHG emissions? | 3 , 4 | DR, I | Yes, besides the issues identified under CAR1 and CR1 | CAR 1 CR 1 |  CR 1 |
| - Are uncertainties in the GHG emissions estimates properly addressed in the documentation? | 3 , 4 | DR, I | Yes, see above. |  |  |
| - Have all relevant greenhouse gases and source categories listed in Kyoto Protocol Annex A been evaluated? | 3 , 4 | DR, I | Yes. |  |  |
| - Leakage Effect Emissions |  |  |  |  |  |
| - Are potential leakage effects beyond the chosen project boundaries properly identified? | 1 - 4 | DR, I | Leakage calculations are not requested |  |  |
| - Have these leakage effects been properly accounted for in calculations? | 1 - 4 | DR, I | See comment above |  |  |
| - Does the methodology for calculating leakage comply with existing good practice? | 1 - 4 | DR, I | See comment above |  |  |
| - Are the calculations documented in a complete and transparent manner? | 1 - 4 | DR, I | See comment above |  |  |
| - Have conservative assumptions been used when calculating leakage? | 1 - 4 | DR, I | See comment above |  |  |
| - Are uncertainties in the leakage estimates properly addressed? | 1 - 4 | DR, I | See comment above |  |  |
| - Baseline Emissions |  |  |  |  |  |
| - Have the most relevant and likely operational characteristics and baseline indicators been chosen as reference for baseline emissions? | 1 - 4 | DR, I | Yes, besides the issues identified under CAR1 and CR1 | CAR 1 CR 1 |  CR 1 |
| - Are the baseline boundaries clearly defined and do they sufficiently cover sources and sinks for baseline emissions? | 1 - 4 | DR, I | Yes. |  |  |
| - Are the GHG calculations documented in a complete and transparent manner? | 1 - 4 | DR, I | Yes. |  |  |
| - Have conservative assumptions been used when calculating baseline emissions? | 1 - 4 | DR, I | Yes. |  |  |
| - Are uncertainties in the GHG emission estimates properly addressed in the documentation? | 1 - 4 | DR, I | Yes. |  |  |
| - Have the project baseline(s) and the project emissions been determined using the same appropriate methodology and conservative assumptions? | 1 - 4 | DR, I | Yes. |  |  |
| - Emission Reductions |  |  |  |  |  |
| - Will the project result in fewer GHG emissions than the baseline scenario? | 1 - 4 | DR, I | Yes. |  |  |
| - Environmental Impacts |  |  |  |  |  |
| - Has an analysis of the environmental impacts of the project activity been sufficiently described? | 1, 3, 4 | DR, I | Yes, the description of the environmental impacts is sufficient. |  |  |
| - Are there any Host Party requirements for an Environmental Impact Assessment (EIA), and if yes, is an EIA approved? | 1 - 4 | DR, I | There is no indication so far by the authority whether an EIA for the biomass boiler will be required or not. Clarification Request No. 3: In case such a procedure will be required during the ongoing of the project the resulting environmental license shall be submitted to the verifier before the first verification. | CR 3 |  |
| - Will the project create any adverse environmental effects? | 3 , 4 | DR, I | No, the project will not create any adverse environmental effects besides an increase of some air emissions due to the change from gas to biomass. |  |  |
| - Are transboundary environmental impacts considered in the analysis? | 3 , 4 | DR, I | No, but it can be confirmed that there are no such impacts. |  |  |
| - Have identified environmental impacts been addressed in the project design? | 3 , 4 | DR, I | Yes. |  |  |
| - Does the project comply with environmental legislation in the host country? | 1 - 4 | DR, I | Yes the project complies with the environmental legislation in Bulgaria. |  |  |
| - Stakeholder Comments |  |  |  |  |  |
| - Have relevant stakeholders been consulted? | 1 - 4 | DR | Yes, the stakeholder process is described by the PDD. |  |  |
| - Have appropriate media been used to invite comments by local stakeholders? | 3 , 4 | DR | Yes |  |  |
| - If a stakeholder consultation process is required by regulations/laws in the host country, has the stakeholder consultation process been carried out in accordance with such regulations/laws? | 3 , 4 | DR | Yes |  |  |
| - Is a summary of the stakeholder comments received provided? | 2 - 4 | DR | There has been no objection by any stakeholder group. |  |  |
| - Has due account been taken of any stakeholder comments received? | 2 4- 8 | DR | There have been no comments, which would have required any further action. |  |  |

# Table 3	Resolution of Corrective Action and Clarification Requests

| Draft report clarifications and corrective action requests | Ref. to checklist question in table 2 | Summary of project owner response | Determination conclusion |
| --- | --- | --- | --- |
| CAR 1 | B.2.2. D.4.2. E.1.3. E.3.1. | The calculation of the energy consumption of the fine screening utility is including a realistic load factor for the electric motors in a revised PDD. | The submitted revised PDD reflects this requirement by introducing such an approach. This issue is deemed to be resolved. |
| CR 1 | B.2.2. E.1.3. E.3.1. | No data can be provided to date given more evidence on the real time of steam demand by the soot blowers. | Substantiated data should be incorporated in the monitoring spread sheet and should be submitted to the verifier in the context of the first or initial verification. Any expected change will have a minor impact on the emission reduction projection. The postponement of this issue to the next verification is considered not to impact the eligibility of the project for JI registration. |
| CR 2 | D.6.5. D.6.6. D.6.7. D.6.8. D.6.9. D.6.10. D.6.11. D.6.12. | There is no quality management system available concerning the monitoring of the project’s performance parameter. | A documentation of all procedures relevant for ensuring the data quality over the time of the crediting period should be elaborated and submitted to the verifier of the first or initial verification. This issue will have no impact on the emission reduction projection but indicates risks concerning the future data quality and data verifiability. The postponement of this issue to the next verification is considered not to impact the eligibility of the project for JI registration. |
| CR3 | F.1.3. | Meanwhile a letter issued by the Ministry of Environment and Water dated October 19th, 2004 has been submitted that clarifies that no EIA is requested by the authority. | Meanwhile a letter issued by the Ministry of Environment and Water dated October 19th, 2004 has been submitted that clarifies that no EIA is requested by the authority. The issue is |

- o0o -